{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Лист2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист2","index":0,"n_rows":127,"n_cols":4,"rows_kept":127,"cut":false,"hidden":false,"merged":[[1,0,1,3]],"flags":["formulas_cached_only"]}
[]
["Трубы из полиэтилена ПЭ 100 из собственного полиэтилена на 20.12.11г."]
[]
["Наименование","Ед. изм.","Вес кг/пм","ПРАЙС"]
[null,null,null,"20.12.11г."]
[]
[1,2,3]
[]
["1.  Труба ПЭ 100  SDR 9 - 50х5,6 пит.     20ат.  ( SDR-7,4) нет","п/м",0.793,53.58]
["2.  Труба ПЭ 100  SDR 9 - 63х7,1  пит. 20ат.  ( SDR-7,4) нет","п/м",1.26,85.4]
["3. Труба ПЭ 100  SDR 9 - 90 х 10,1  пит. 20ат.  ( SDR-7,4) нет","п/м",2.56,173.51]
["4.  Труба ПЭ 100  SDR 9 - 110х12,3  пит. 20ат.  ( SDR-7,4) нет","п/м",3.82,258.14]
["5. Труба ПЭ 100  SDR 9 - 160х17,9 пит.  20ат.  ( SDR-7,4) нет","п/м",8.05,544.17]
["6.  Труба ПЭ 100  SDR 9 - 225Х25,2 пит. 20ат.  ( SDR-7,4) нет","п/м",16,1079.31]
["7.  Труба ПЭ 100  SDR 9 - 280х31,3  пит. 20ат.  ( SDR-7,4) нет","п/м",24.6,1682.51]
["8.  Труба ПЭ 100  SDR 9  - 315х35,2  пит. 20ат.  ( SDR-7,4) нет","п/м",31.1,2060.01]
["9.  Труба ПЭ 100  SDR 9 - 355х39,7  пит. 20ат.  ( SDR-7,4) нет","п/м",39.6,2621.22]
["10.  Труба ПЭ 100  SDR 9 - 400х44,7 пит. 20ат.  ( SDR-7,4) нет","п/м",50.2,3323.47]
["11.  Труба ПЭ 100  SDR 9 - 500х55,8 пит. 20ат.  ( SDR-7,4) нет","п/м",78.2,5182.28]
["12.  Труба ПЭ 100  SDR 11 - 20х2,0 пит.  16 ат (SDR-9)","п/м",0.117,7.85]
["13.  Труба ПЭ 100  SDR 11 -25х2,3 пит.   16 ат (SDR-9)  нет","п/м",0.171,11.5]
["14.  Труба ПЭ 100  SDR 11 - 32х3,0 пит.  16 ат (SDR-9)","п/м",0.28,18.73]
["15.  Труба ПЭ 100  SDR 11 - 50х4,6 пит. 16 ат (SDR-9)","п/м",0.669,44.87]
["16. Труба ПЭ 100  SDR 11 - 63х5,8 пит.  16 ат (SDR-9)","п/м",1.06,71.01]
["17.  Труба ПЭ 100  SDR 11 - 90х8,2   16 ат (SDR-9)","п/м",2.14,143.35]
["18.  Труба ПЭ 100  SDR 11 - 110х10,0 пит.  16 ат (SDR-9)","п/м",3.17,212.61]
["19. Труба ПЭ 100  SDR 11-160х14,6 пит.  16 ат (SDR-9)","п/м",6.86,450.83]
["20. Труба ПЭ 100  SDR 11- 225х20,5 пит.  16 ат (SDR-9)","п/м",13.6,892.72]
["21.  Труба ПЭ 100  SDR 11 - 280х25,4 пит.  16 ат (SDR-9)","п/м",20.5,1399.85]
["22.  Труба ПЭ 100  SDR 11 - 315х28,6  пит.  16 ат (SDR-9)","п/м",25.9,1701.79]
["23.  Труба ПЭ 100  SDR 11 - 355х32,2  пит.  16 ат (SDR-9)","п/м",32.9,2180.12]
["24.  Труба ПЭ 100  SDR 11 - 400х36,3  пит.  16 ат (SDR-9)","п/м",41.8,2740.91]
["25.  Труба ПЭ 100  SDR 11 - 500х45,4  пит.  16 ат (SDR-9)","п/м",65.3,4283.55]
["26.Труба ПЭ 100   SDR  11 - 630х57,2 пит.  16 ат (SDR-9)","п/м",106,6819]
["27.  Труба ПЭ 100  SDR 13,6 - 32х2,4  пит.   12,5ат (SDR-11)","п/м",0.231,15.47]
["28.  Труба ПЭ 100  SDR 13,6 - 50х3,7  пит. 12,5ат (SDR-11)","п/м",0.55,36.93]
["29.  Труба ПЭ 100  SDR 13,6  - 63х4,7  пит. 12,5ат (SDR-11)","п/м",0.877,58.82]
["30.  Труба ПЭ 100  SDR 13,6 - 90х6,7  пит. 12,5ат (SDR-11)","п/м",1.78,118.94]
["31.  Труба ПЭ 100  SDR 13,6 - 110х8,1  пит. 12,5ат (SDR-11)","п/м",2.63,176.89]
["32.  Труба ПЭ 100  SDR 13,6 - 160х11,8  пит. 12,5ат (SDR-11)","п/м",5.55,371.86]
["33.  Труба ПЭ 100  SDR 13,6 - 225х16,6  пит.  12,5ат (SDR-11)","п/м",11,736.85]
["34.  Труба ПЭ 100  SDR 13,6 - 280х20,6   пит. 12,5ат (SDR-11)","п/м",17,1158.82]
["35.  Труба ПЭ 100  SDR 13,6 - 315х23,2   пит. 12,5ат (SDR-11)","п/м",21.5,1410.57]
["36.  Труба ПЭ 100  SDR 13,6  - 355х26,1   пит. 12,5ат (SDR-11)","п/м",27.3,1805.37]
["37.  Труба ПЭ 100  SDR 13,6 - 400х29,4   пит. 12,5ат (SDR-11) ","п/м",34.5,2264.29]
["38.  Труба ПЭ 100  SDR 13,6 - 500х36,8  пит. 12,5ат (SDR-11)","п/м",54,3542.26]
["39.  Труба ПЭ 100  SDR 13,6 - 630х46,3   пит. 12,5ат (SDR-11)","п/м",85.6,5614.31]
["40.  Труба ПЭ 100  SDR 13,6 - 710х52,2 пит. 12,5ат (SDR-11)","п/м",109,7150.23]
["41.  Труба ПЭ 100  SDR 13,6  - 800х58,8   пит. 12,5ат (SDR-11)нет","п/м",138,9260.79]
["42.  Труба ПЭ 100  SDR 17 - 32х2,0   пит.  10 ат. (SDR-13,6)","п/м",0.195,12.98]
["43.  Труба ПЭ 100  SDR 17 - 50х3,0   пит.  10 ат. (SDR-13,6)","п/м",0.453,30.4]
["44.  Труба ПЭ 100  SDR 17 - 63х3,8   пит.  10 ат. (SDR-13,6)","п/м",0.722,48.35]
["45.  Труба ПЭ 100  SDR 17 - 90х5,4   пит.  10 ат. (SDR-13,6) ","п/м",1.46,98.03]
["46. Труба ПЭ 100  SDR 17 - 110х6,6 пит.  10 ат. (SDR-13,6) ","п/м",2.23,146.18]
["47. Труба ПЭ 100   SDR 17 - 160х9,5 пит.  10 ат. (SDR-13,6)","п/м",4.65,305.41]
["48. Труба ПЭ 100    SDR 17 - 225х13,4 пит.   10 ат. (SDR-13,6)","п/м",9.21,604.41]
["49.  Труба ПЭ 100  SDR 17 - 280х16,6   пит.  10 ат. (SDR-13,6)","п/м",13.9,951.74]
["50. Труба ПЭ 100    SDR 17 - 315х18,7 пит.  10 ат. (SDR-13,6) ","п/м",18,1152.1]
["51.  Труба ПЭ 100  SDR 17 - 355х21,1  пит.  10 ат. (SDR-13,6)","п/м",22.4,1484.59]
["52.  Труба ПЭ 100    SDR  17 - 400х23,7 пит.  10 ат. (SDR-13,6)","п/м",28.9,1853.8]
["53.  Труба ПЭ 100   SDR 17 - 500х29,7 пит.  10 ат. (SDR-13,6)","п/м",45.3,2906.37]
["54.  Труба ПЭ 100   SDR 17 - 630х37,4 пит.  10 ат. (SDR-13,6)","п/м",71.8,4608.15]
["55.  Труба ПЭ 100   SDR 17 - 710х42,1 пит.  10 ат. (SDR-13,6)","п/м",91.1,5852.84]
["56.  Труба ПЭ 100  SDR 17 - 800х47,4   пит. 10 ат. (SDR-13,6)","п/м",113,7570.88]
["57.  Труба ПЭ 100   SDR 17 - 900х53,3 пит.   10 ат. (SDR-13,6) ","п/м",146,9790.8]
["58. Труба ПЭ 100 SDR 17- 1000х59,3 пит.  10 ат. (SDR-13,6) ","п/м",181,12065.72]
["59.  Труба ПЭ 100  SDR 17,6  - 63х3,6   пит. 9,5 ат. (SDR- нет)","п/м",0.688,45.97]
["60.  Труба ПЭ 100  SDR 17,6   - 90х5,2пит. 9,5 ат. (SDR- нет)","п/м",1.41,94.98]
["61.  Труба ПЭ 100  SDR 17,6 - 110х6,3   пит. 9,5 ат. (SDR- нет)","п/м",2.09,140.5]
["62.  Труба ПЭ 100  SDR 17,6  - 160х9,1  пит. 9,5 ат. (SDR- нет)","п/м",4.39,294.53]
["63.  Труба ПЭ 100  SDR 17,6 - 225х12,8   пит. 9,5 ат. (SDR- нет)","п/м",8.63,578.37]
["64.  Труба ПЭ 100  SDR 17,6 - 280х15,9  пит. 9,5 ат. (SDR- нет)","п/м",13.3,910.36]
["65.  Труба ПЭ 100  SDR 17,6 - 315х17,9   пит. 9,5 ат. (SDR- нет)","п/м",16.9,1105.91]
["66.  Труба ПЭ 100  SDR 17,6  - 355х20,1  пит.  9,5 ат. (SDR- нет)","п/м",21.4,1417.82]
["67.  Труба ПЭ 100  SDR 17,6 - 400х22,7   пит.  9,5 ат. (SDR- нет)","п/м",27.2,1780.95]
["68.  Труба ПЭ 100  SDR 17,6 -  500х28,3  пит. 9,5 ат. (SDR- нет)","п/м",42.4,2781.03]
["69.  Труба ПЭ 100  SDR 17,6 - 630х35,7   пит. 9,5 ат. (SDR- нет)","п/м",67.2,4409.43]
["70. Труба ПЭ 100 SDR 17,6 -710х40,2  пит. 9,5 ат. (SDR- нет)","п/м",85.5,5607.81]
["71.  Труба ПЭ 100  SDR 17,6 -  800х45,3  пит. 9,5 ат. (SDR- нет)","п/м",109,7300.75]
["72.  Труба ПЭ 100  SDR 17,6 -  900х51,0 пит.9,5 ат. (SDR- нет)","п/м",137,9376.78]
["73.  Труба ПЭ 100  SDR 17,6 -  1000х56,6  пит.9,5 ат. (SDR- нет)","п/м",170,11582.98]
["74.  Труба ПЭ 100  SDR 21 -  63х3,0   пит. 8 ат. ( SDR -17)","п/м",0.578,38.67]
["75.  Труба ПЭ 100  SDR 21 - 90х4,3  пит. 8 ат. ( SDR -17)","п/м",1.19,79.72]
["76.  Труба ПЭ 100  SDR 21 - 110х5,3  пит. 8 ат. ( SDR -17)","п/м",1.79,119.93]
["77.  Труба ПЭ 100  SDR 21 -  160х7,7  пит. 8 ат. ( SDR -17)","п/м",3.75,251.29]
["78.  Труба ПЭ 100  SDR 21 -  225х10,8  пит. 8 ат. ( SDR -17)","п/м",7.36,492.97]
["79.  Труба ПЭ 100  SDR 21 -  280х13,4  пит. 8 ат. ( SDR -17)","п/м",11.4,779.55]
["80.  Труба ПЭ 100  SDR 21 -  315х15,0  пит. 8 ат. ( SDR -17)","п/м",14.3,940.56]
["81.  Труба ПЭ 100  SDR 21 -  355х16,9   пит. 8 ат. ( SDR -17)","п/м",18.2,1203.93]
["82.  Труба ПЭ 100  SDR 21 -  400х19,1    пит. 8 ат. ( SDR -17)","п/м",23.1,1516.28]
["83.  Труба ПЭ 100  SDR 21 -  500х23,9  пит. 8 ат. ( SDR -17)","п/м",36.1,2370.01]
["84.  Труба ПЭ 100  SDR 21 -  630х30,0  пит. 8 ат. ( SDR -17)","п/м",57,3739.93]
["85.  Труба ПЭ 100 SDR 21-710х33,9 пит.  8 ат. ( SDR -17)","п/м",72.8,4773.61]
["86.  Труба ПЭ 100  SDR 21 -  800х38,1  пит.  8 ат. ( SDR -17)","п/м",92.3,6178.43]
["87.  Труба ПЭ 100  SDR 21 -  900х42,9   пит.  8 ат. ( SDR -17)","п/м",117,7997.95]
["88. Труба ПЭ 100   SDR 21 - 1000х47,7  пит.  8 ат. ( SDR -17)","п/м",147.3,9859.53]
["89.  Труба ПЭ 100  SDR 26 -  90х3,5  пит.  6,3 ат. ( SDR -21)","п/м",0.978,65.47]
["90.  Труба ПЭ 100  SDR 26 -  110х4,2    пит.  6,3 ат. ( SDR -21)","п/м",1.43,96.07]
["91.  Труба ПЭ 100  SDR 26 - 160х6,2    пит. 6,3 ат. ( SDR -21)","п/м",3.11,205.2]
["92.  Труба ПЭ 100  SDR 26- 225х8,6     пит. 6,3 ат. ( SDR -21)","п/м",6.07,397.99]
["93.  Труба ПЭ 100  SDR 26 -  280х10,7  пит. 6,3 ат. ( SDR -21)","п/м",9.18,627.17]
["94.  Труба ПЭ 100  SDR 26-  315х12,1 пит. 6,3 ат. ( SDR -21)","п/м",11.9,768.49]
["95.  Труба ПЭ 100  SDR 26 -  355х13,6  пит. 6,3 ат. ( SDR -21)","п/м",14.7,976.19]
["95.  Труба ПЭ 100  SDR 26 -  400х15,3 пит. 6,3 ат. ( SDR -21)","п/м",19.1,1231.78]
["96.  Труба ПЭ 100  SDR 26 -  500х19,1   пит. 6,3 ат. ( SDR -21)","п/м",29.3,1920.06]
["97.  Труба ПЭ 100  SDR 26 - 630х24,1 пит. 6,3 ат. ( SDR -21)","п/м",47.42,3045.47]
["98.  Труба ПЭ 100  SDR 26 -  710х27,2   пит.  6,3 ат. ( SDR -21)","п/м",59.1,3872.95]
["99. Труба ПЭ 100     SDR 26 - 800х30,6 пит.  6,3 ат. ( SDR -21)","п/м",76.4,5009.38]
["100. Труба ПЭ 100   SDR 26 - 900х34,4 пит.  6,3 ат. ( SDR -21)","п/м",94.7,6467.28]
["101. Труба ПЭ 100   SDR 26 - 1000х38,2 пит. 6,3 ат. ( SDR -21)","п/м",127.9,7997.95]
["102. Труба ПЭ 100  SDR 26 -  1200х45,9  пит.  6,3 ат. ( SDR -21)","п/м",167,11514.14]
["103. Труба ПЭ 100  SDR 33 -   63х2,0  пит.  5 ат. ( SDR -26 ) нет","п/м",0.396,28.22]
["104. Труба ПЭ 100  SDR 33 -   90х2,8   пит. 5 ат. ( SDR -26 )","п/м",0.789,52.93]
["105. Труба ПЭ 100  SDR 33 -   110х3,4  пит. 5 ат. ( SDR -26 )","п/м",1.17,78.55]
["106. Труба ПЭ 100  SDR 33 -  160х4,9  пит. 5 ат. ( SDR -26 )","п/м",2.43,163.28]
["107. Труба ПЭ 100  SDR 33 -   225х6,9  пит. 5 ат. ( SDR -26 )","п/м",4.81,321.87]
["108. Труба ПЭ 100  SDR 33 -   280х8,6  пит. 5 ат. ( SDR -26 )","п/м",7.45,511.39]
["109. Труба ПЭ 100  SDR 33 -   315х9,7   пит. 5 ат. ( SDR -26 )","п/м",9.44,619.26]
["110.Труба ПЭ 100  SDR 33 -   355х10,9  пит. 5 ат. ( SDR -26 )","п/м",11.9,799.96]
["111. Труба ПЭ 100   SDR 33 - 400х12,3 пит.  5 ат. ( SDR -26 )","п/м",15.5,1000.19]
["112. Труба ПЭ 100  SDR 33 -   500х15,3   пит.  5 ат. ( SDR -26 )","п/м",23.6,1549.14]
["113. Труба ПЭ 100  SDR 33 -   630х19,3   пит. 5 ат. ( SDR -26 )","п/м",37.5,2456.41]
["114. Труба ПЭ 100  SDR 33 -   710х21,8   пит. 5 ат. ( SDR -26 )","п/м",47.7,3131.89]
["115. Труба ПЭ 100  SDR 33 -   800х24,5  пит.  5 ат. ( SDR -26 )","п/м",60.5,4049.02]
["116. Труба ПЭ 100  SDR 33 -   900х27,6  пит.  5 ат. ( SDR -26 )","п/м",76.6,5233.43]
["117. Труба ПЭ 100  SDR 33 -   1000х30,6  пит.  5 ат. ( SDR -26 )","п/м",94.4,6446.82]
["118. Труба ПЭ 100  SDR 33 -    1200х36,7   пит. 5 ат. ( SDR -26 )","п/м",135,9239.22]