{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Лист2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист2","index":0,"n_rows":54,"n_cols":4,"rows_kept":54,"cut":false,"hidden":false,"merged":[[1,0,1,3]],"flags":["formulas_cached_only"]}
[]
["Трубы из полиэтилена ПЭ 100 ГАЗОВЫЕ на 20.12.11 год ГОСТ Р 50838-95/3"]
[]
[]
[]
["Наименование","Ед. изм.","Вес кг/п.м.","ПРАЙС"]
[null,null,null,"2011-12-20"]
[1,2,3,6]
[" БЕЗ ЖЕЛТОЙ ПОЛОСЫ"]
[]
["1. Труба ПЭ 100   ГАЗ  SDR 9 - 63х7,1","п/м",1.26,91.3]
["2. Труба ПЭ 100   ГАЗ  SDR 9 - 90х10,1 ","п/м",2.56,186.3]
["3. Труба ПЭ 100   ГАЗ  SDR 9 - 110х12,3 ","п/м",3.82,276.58]
["4. Труба ПЭ 100   ГАЗ  SDR 9 - 160х17,9 ","п/м",8.05,582.56]
["5. Труба ПЭ 100   ГАЗ  SDR 9 - 225х25,2 ","п/м",15.96,1153.78]
["6. Труба ПЭ 100   ГАЗ  SDR 9 - 280х31,3 ","п/м",24.6,1782.49]
["7. Труба ПЭ 100   ГАЗ  SDR 9 - 315х35,2","п/м",31.1,2249.5]
[]
["8. Труба ПЭ 100   ГАЗ  SDR 11 - 63х5,8 ","п/м",1.06,76.71]
["9. Труба ПЭ 100   ГАЗ  SDR 11 - 90х8,2","п/м",2.14,155.07]
["10. Труба ПЭ 100   ГАЗ  SDR 11 - 110х10,0 ","п/м",3.17,229.74]
["11. Труба ПЭ 100   ГАЗ  SDR 11 - 160х14,6","п/м",6.73,487.57]
["12. Труба ПЭ 100   ГАЗ  SDR 11 - 225х20,5 ","п/м",13.3,964.34]
["13. Труба ПЭ 100   ГАЗ  SDR 11 - 280х25,4 ","п/м",20.5,1482.9]
["14. Труба ПЭ 100   ГАЗ  SDR 11 - 315х28,6 ","п/м",25.9,1876.81]
["15. Труба ПЭ 100   ГАЗ  SDR 11 - 400х36,3","п/м",41.8,3028.96]
[]
["15. Труба ПЭ 100   ГАЗ  SDR 13,6 - 32х2,4    ","п/м",0.231,16.73]
["16. Труба ПЭ 100   ГАЗ  SDR 13,6 - 50х3,7 ","п/м",0.55,39.87]
["17.  Труба ПЭ 100   ГАЗ  SDR 13,6 - 63х4,7","п/м",0.877,63.46]
["18. Труба ПЭ 100   ГАЗ  SDR 13,6 - 90х6,7 ","п/м",1.78,128.8]
["19. Труба ПЭ 100   ГАЗ  SDR 13,6 - 110х8,1","п/м",2.63,191.24]
["20. Труба ПЭ 100   ГАЗ  SDR 13,6 - 160х11,8  ","п/м",5.55,402.11]
["21. Труба ПЭ 100   ГАЗ  SDR 13,6 - 225х16,6 ","п/м",11,796.03]
["22. Труба ПЭ 100   ГАЗ  SDR 13,6 - 280х20,6 ","п/м",17,1227]
["23. Труба ПЭ 100   ГАЗ  SDR 13,6 - 315х23,2 ","п/м",21.5,1556.01]
[]
["24. Труба ПЭ 100   ГАЗ  SDR 17 - 50х3,0","п/м",0.453,32.79]
["25. Труба ПЭ 100   ГАЗ  SDR 17 - 63х3,8 ","п/м",0.722,52.22]
["26. Труба ПЭ 100   ГАЗ  SDR 17 - 90х5,4 ","п/м",1.46,106.68]
["27. Труба ПЭ 100   ГАЗ  SDR 17 - 110х6,6 ","п/м",2.18,158.45]
["28. Труба ПЭ 100   ГАЗ  SDR 17 - 160х9,5 ","п/м",4.6,329.8]
["29. Труба ПЭ 100   ГАЗ  SDR 17 - 225х13,4 ","п/м",9.02,653.3]
["30. Труба ПЭ 100   ГАЗ  SDR 17 - 280х16,6","п/м",13.9,1007.68]
["31. Труба ПЭ 100   ГАЗ  SDR 17 - 315х18,7","п/м",17.6,1271.12]
[]
["32. Труба ПЭ 100   ГАЗ  SDR 17,6 - 50х2,9 ","п/м",0.44,32.01]
["33. Труба ПЭ 100   ГАЗ  SDR 17,6 - 63х3,6 ","п/м",0.688,50.08]
["34. Труба ПЭ 100   ГАЗ  SDR 17,6 - 90х5,2 ","п/м",1.41,102.52]
["35. Труба ПЭ 100   ГАЗ  SDR 17,6 - 110х6,3 ","п/м",2.09,151.37]
["36. Труба ПЭ 100   ГАЗ  SDR 17,6 - 160х9,1","п/м",4.55,318]
["37. Труба ПЭ 100   ГАЗ  SDR 17,6 - 225х12,8","п/м",8.63,624.46]
["38. Труба ПЭ 100   ГАЗ  SDR 17,6 - 280х15,9 ","п/м",13.3,964.34]
["39. Труба ПЭ 100   ГАЗ  SDR 17,6 - 315х17,9","п/м",16.9,1219.92]